# Construction Digital Engineering Management Plan

[Template – Enter Project Name]

# Document Control

## Document Information

| Prepared by | [Populate] |
| --- | --- |
| Title | [Populate] |
| Company | [Populate] |
| Contact Details | [Populate] |

## Version History

| Version no. | Date | Changed by | Nature of amendment | Accepted by |
| --- | --- | --- | --- | --- |
| 0.1 | [Date] | [Populate] | Pre-award draft | - |
| 0.2 | [Date] | [Populate] | Post-award draft | VHBA to complete |
| 1.0 | [Date] | [Populate] | Published for use | VHBA to complete |

## Template Version History (VHBA use only)

| Version no. | Date | Changed by | Nature of amendment | Accepted by |
| --- | --- | --- | --- | --- |
| 1.0 | 29/08/2024 | Digital Build & Data | Initial Release | VHBA |

[Instructional text (hidden green text) for the Lead Appointed Party Instructional text is provided to assist the Project DE Lead in developing this document using Microsoft Word. If you do not see any green text below, then enable visibility in: File > Options > Display > check Hidden Text (green text should be visible below). Note: Hidden text should be turned off prior to publishing the document and placeholder text [in square brackets] must be deleted.] DELETE THIS INSTRUCTIONAL NOTE BEFORE FINALISING THIS DEMP.

Document use and updates

Using the VHBA Project Information Requirements (PIR), this Construction Digital Engineering Management Plan (DEMP) template is to be populated in Microsoft Word by the tendering Lead Appointed Party’s BIM Manager for the named project. The draft DEMP is to be included in the Tender response for all prospective Lead Appointed Parties. Complete this template in alignment with the PIR.

Customise this DEMP to reflect the Project Team’s approach to DE for the project.

[Instructional text (hidden green text)
Instructional text is provided to assist in the development of this document. It may be considered as providing guidance to the DEMP author by referencing the relevant PIR section and other considerations.

Text in [square brackets] 
All text in [square brackets] indicates a placeholder for Project Team or Appointed Party input. 
Note: Any placeholder text must be replaced or deleted prior to issue.

Track changes 
Track changes must be used to highlight any changes between the original template and ALL subsequent revisions. A summary is to be recorded in the version history table on page 2 once agreed by the Project Team and when the VHBA DE Project Champion accepts the changes. At this point a PDF version shall be issued by the Project DE Lead for use by the Project Team.

Red text in pink box
Red text in light pink box denotes an important statement being called to attention for the reader.

‘*’ (asterisk symbol)
‘*’ Refers to a common reference source. See the bottom of the Table for more information on applicable reference source.

Contents

1.	Standards and Guidance Documents	11

2.	Amendments to the PIR	11

3.	Introduction	11

3.1.	Purpose and Scope	11

3.2.	About this document	12

4.	Commercial	12

4.1.	Project Summary	12

4.2.	Project Details	12

4.3.	Project Scope	12

4.4.	Project Procurement Strategy	12

4.5.	Project Phases (Information Delivery Milestones)	12

4.6.	Non-VHBA required uses of Digital Engineering	12

5.	Roles and Responsibilities	13

5.1.	Project Organisational structure	13

5.2.	Project Digital Engineering Contacts	13

5.3.	Roles and Responsibilities (RACI) Matrix	14

6.	Project Setout	14

6.1.	Location and Orientation	14

6.2.	Setup File	15

6.3.	View and Drawing Orientation	15

6.4.	True North and Project North	15

6.5.	Project Levels	15

7.	Information Management	15

7.1.	Units of Measurement and Quantification	15

7.2.	PIM & AIM Strategy	16

7.3.	Common Data Environments	17

7.4.	Industry Foundation Classes	18

7.5.	AusHFG	20

7.6.	Documentation	21

7.7.	Schedules	21

8.	Asset Information Requirements	21

8.1.	Health Services Asset Information Requirements	21

8.2.	VHBA Asset Grouping	21

8.3.	VHBA Asset Equipment List	22

8.4.	VHBA Asset Data Uploader & Attribution	22

8.5.	Classifications	22

9.	Model Management	22

9.1.	Scope of Existing Conditions Modelling	22

9.2.	Model Phasing	22

9.3.	Model Federation Strategy	23

9.4.	Cross-Discipline Linked Views	23

9.5.	Rooms and Spaces	23

9.6.	Ceiling Zone Strategy	24

9.7.	Penetrations	24

9.8.	Operational Planning and Staging	24

10.	Communication, Collaboration and Processes	24

10.1.	Information Exchange Schedule	24

10.2.	Project Meetings	25

10.3.	Visualisation and Stakeholder Communication	26

10.4.	Occupational Health and Safety	26

10.5.	Sustainability	26

10.6.	Construction Sequencing	26

11.	Model Coordination, Clash Detection and Resolution	26

11.1.	Coordination	26

11.2.	Model Review Process	27

11.3.	Clash Sets	27

11.4.	Clash Tolerances	27

11.5.	Clash Priorities	27

11.6.	Clash Reports	27

11.7.	Issue Management Process & Clash Resolution	27

11.8.	Coordination Schedule	28

12.	As-Built Validation Process	29

12.1.	Measured	29

12.2.	Visual	29

12.3.	Tolerance Strategy	29

12.4.	As-Built BIM/s	29

13.	IT Management	29

13.1.	Software Selection	29

13.2.	Software Training	30

13.3.	Software Upgrade Policy	30

14.	Quality Assurance and Control	30

14.1.	QA Responsibility	30

14.2.	Visual Checks	30

14.3.	Interference Checks	30

15.	Minimum Modelling Requirements by Project Phase	30

15.1.	Project Information Delivery Milestones	31

15.2.	Existing Conditions Modelling Requirements	31

15.3.	Design Phase Modelling Requirements	31

15.4.	Phase 6 - Issue for Construction	31

15.5.	Phase 7 - Handover and As-Built DE Requirements	42

16.	Appendices	43

16.1.	Appendix A – RACI Matrix	43

16.2.	Appendix B – MEA Matrix	44

16.3.	Appendix C – Project Digital Engineering Lead	45

# Glossary of Terms

Terminology relating to Building Information Modelling and Digital Engineering is in accordance with the terms used in the relevant national and international standards.

* Denotes a term from AS ISO 19650 series of standards.

Table 1: Terms and Definitions

| Term | Abbrev. | Definition |
| --- | --- | --- |
| *Appointed Party |  | A provider of information for the project, including services and typically working under a Lead Appointed Party such as an Architect or Managing Contractor |
| *Appointing Party |  | VHBA is the Appointing Party (the Principal). The term VHBA or Appointing Party is used throughout documentation to reflect this |
| As-Built |  | Refers to a set of drawings, documentation or models that represent the final specifications and conditions of a construction project as it was actually constructed |
| Asset |  | Defined as an ‘item, thing or entity that has potential or actual value to an organisation’. Assets can be tangible or intangible through physical and non-physical (digital) assets. Data and information should be considered digital asset. For the purposes of the VHBA DE Framework an asset is defined as an item contained within the Asset Equipment List. |
| Asset Equipment List |  | List of items deemed as an asset within the VHBA DE Framework requiring specific information in accordance with the AIR |
| *Asset Information Model | AIM | Information model, including geometrical and non-geometrical information and documentation used for the operational phase of the asset |
| Asset Information Management System | AIMS | The system that supports organisations to meet relevant asset/facilities management requirements |
| *Asset Information Requirements | AIR | Information requirements in relation to the operation of the asset |
| Australasian Health Facility Guidelines | AusHFG | A significant body of available intellectual property, contained within practical resources suitable for application to all Australian and New Zealand jurisdictions. |
| *Building Information Modelling | BIM | The use of a shared digital representation of a built asset to facilitate design, construction and operation processes to form a reliable basis for decisions |
| Building Information Models | BIM/s | Means all models that any contributing party (or its sub-contractors) is required to produce and deliver in accordance with the DEMP and PIR |
| Building Management System | BMS | A control system that monitors and manages the mechanical, electrical, and electromechanical services in a building, such as ventilation, lighting, power systems, fire systems, and security systems. |
| Combined Team |  | The Appointing Party, the Lead Appointed Party and their Appointed Parties. Includes VHBA. E.g., the complete team. Note: the use of the term Combined Team in the VHBA DE Framework is the equivalent of Project Team in the AS ISO 19650 series of Standards and VDAS |
| *Common Data Environment | CDE | An agreed source of information for any given project, used to collect, manage, and disseminate project information for multi-disciplinary teams in a managed process |
| Computer Aided Design/Drafting | CAD | Means any Computer Aided Design/Drafting that any contributing party (or its sub-contractors) is required to produce and deliver in accordance with the DEMP and PIR |
| Construction Digital Engineering Management Plan | Construction DEMP | A detailed plan, created from the VHBA Template, which documents the use of DE on a project. It outlines who is responsible for what in the construction process, when in the process they are responsible for it, and how they will execute VHBA requirements as specified in the PIR |
| Computerised Maintenance Management System | CMMS | A system that contains a computer database of information about an organization's maintenance operations. |
| Cost Breakdown Structure | CBS | A hierarchical representation of the costs associated with a project, aligned to the work breakdown structure, to organize, categorize, and break down the total project cost into smaller, manageable components. |
| Design Digital Engineering Management Plan | Design DEMP | A detailed plan, created from the VHBA Template, which documents the use of DE on a project. It outlines who is responsible for what in the design DE process, when in the process they are responsible for it, and how they will execute VHBA requirements as specified in the PIR |
| Digital Engineering | DE | The process of using digital tools to develop information and data rich deliverables when designing and constructing assets (e.g., BIM, GIS, CAD, Project Controls, Cost, Time) |
| Digital Engineering Management Plan Template | DEMP | The standard VDAS Digital Engineering Management Plan Template to be used by Project Teams. Refers to Design DEMP and Construction DEMP, which may be combined depending on procurement |
| *Exchange Information Requirements | EIR | VHBA requirements to enable the exchange of information between parties and from the PIM to the AIM. For VHBA, the EIR is combined with the PIR to reduce the number of documents needed to specify DE |
| Environmental Sustainable Design | ESD | Design of buildings, products, or processes that are environmentally responsible and resource-efficient throughout their lifecycle |
| Facility Maintenance Management System | FMMS | It is a type of system used to manage and streamline the maintenance activities within a facility. |
| Federated Model |  | An assembly of curated discipline/trade BIM/s combined for uses such as coordination, collaboration, and exchange with the Appointing Party |
| Furniture, Fixtures and Equipment | FF&E | All movable or easily removed objects in a building or space |
| Geographic Information Systems | GIS | A computer system designed to capture, store, manipulate, analyse, manage, and present all types of geographical data |
| Health Services | HS | A registered funded agency, multi-purpose service or health service establishment, or any other person, body or organisation that provides, delivers, funds, facilitates access or provides insurance in relation to health services, or as defined in the Health Services Act 1988. Note: the VHBA Health Services definition is as per the definition provided in the Health Services Act 1988 |
| High Value High Risk Framework | HVHR | A series of project assurance checks and processes for projects to increase the likelihood that they will achieve their stated benefits and be delivered successfully, on time and to budget. Note: As per the definition provided in the Victorian Department of Treasury and Finance HVHR Framework |
| Project Profile Model | PPM | Victorian Department of Treasury and Finance's risk-based assessment tool used to determine whether a project should be subject to the HVHR project assurance framework |
| Industry Foundation Classes | .ifc | ISO 16739-1 – Open BIM file format that can be exported and imported by the majority of BIM authoring tools. Accommodates VHBA attributes in .ifc elements (within geometry) using custom Property Sets |
| *Key Decision Point/s |  | A point in time during the project lifecycle when a business decision crucial to the direction or viability of the asset is made. This can be made using information created by the Project Team |
| *Lead Appointed Party |  | An external party appointed by VHBA with sub-consultants or subcontractors. This role may change, dependant on the procurement method (i.e., transfer from the architect (design) to the contractor (construction)) |
| Level of Development | LOD | The degree to which an element’s geometry and attached information have been progressed and the degree to which Project Team members may rely on the information when using the model. VHBA doesn’t specify the LOD, however, if the Project Team wishes to use LOD, the 2021 US BIM forum specification shall be used as a guiding principle |
| Level of Information | LOI | A way of describing specific information or asset data associated with the individual objects within the BIM/s, and when it is to be exchanged |
| *Level of Information Need |  | Framework which defines the extent and granularity of information, described by different concepts: geometrical information, alphanumerical information, and documentation (BS EN 17412-1). More granular than LOD and LOI |
| Laser Scanning |  | The process of capturing digital information about the shape of an object with equipment that uses a laser to measure the distance between itself and the object, the resulting output is a point cloud |
| Massing Model |  | An early volumetric model useful for understanding bulk and scale, areas of floor plates and departmental layouts and adjacencies |
| Model Element |  | An individual component within a BIM (e.g., wall, floor, nurse call device, room, diffuser, column etc) |
| Model Element Author | MEA | A person responsible for creating an element (object) in the BIM environment |
| openBIM |  | A universal approach to the collaborative design, realisation and operation of buildings based on open standards and workflows. Typically uses Industry Foundation Classes (ISO 16739-1) format. |
| Photogrammetry |  | The process of extracting 3D information from photos or video to convert into digital models or point clouds |
| Principal’s Project Requirements | PPR | VHBA requirements for a specific project |
| Project Digital Engineering Lead | Project DE Lead | A Lead Appointed Party (Consultant/Contractor) provided resource to manage the Digital Engineering and asset information creation processes on the project |
| *Project Information Model | PIM | The information model relating to the delivery phase. The PIM consists of documentation, non-geometric (alphanumerical) information and geometric information of the project |
| *Project Information Requirements | PIR | VHBA Project Information Requirements and exchange processes to enable the creation and management of the PIM to support the ongoing AIM (this document) |
| Project Manager | PM | A VHBA assigned resource to ensure the Project Team complies with the PIR and DEMP enabling the creation of the PIM and AIM. The Project Manager's responsibility is to manage the scope, time, cost, quality, resources, communications, and risk aspects of the project |
| Project Management Framework | PMF | VHBA’s internal guide and primary reference document for all VHBA teams managing projects |
| Project Team |  | The Lead Appointed Party and their Appointed Parties. Excludes the Appointing Party (VHBA). Note: the use of the term Project Team in the VHBA DE Framework differs from its typical use in the AS ISO 19650 series of Standards and VDAS where it is referred to as Delivery Team |
| Quantity Surveyor | QS | An Appointed Party that specialises in managing and controlling costs and contracts related to construction projects. |
| Responsible, Accountable, Consulted, Informed Matrix | RACI | The RACI matrix is a model that describes the participation by various roles in completing tasks or deliverables for a project |
| Room Data Sheets | RDS | Detailed documents that provide specific information about the design, equipment, and functional requirements of each room or space within a hospital |
| Room Layout Sheets | RLS | Detailed architectural drawings that provide the specific layout and arrangement of a hospital room or space. |
| Schedule of Accommodation | SoA | A document listing accommodation facilities and provisions considering the operational, spatial and locational requirements of the Health facility |
| Total Construction Cost | TCC | Sum of all the costs associated with building the structure, including the cost of materials, labour, and overhead. |
| Virtual Buildings Information System | VBIS | An asset classification system to provide standardisation for asset classification and data linking |
| Victorian Digital Asset Policy | VDAP | The Digital Asset Policy sets the minimum actionable digital practices and standards to improve productivity for project delivery (https://www.vic.gov.au/digital-asset-policy) |
| Victorian Digital Asset Strategy | VDAS | The Victorian Digital Asset Strategy sets out a whole-of-government strategy for digitising construction (https://www.vic.gov.au/victorian-digital-asset-strategy) |
| Victorian Health Building Authority | VHBA | The Appointing Party |
| VHBA Delivery Team |  | A VHBA term for their internal project delivery team. E.g., includes VHBA Project Director/ Technical Director or Project Manager. Note: the use of Delivery Team in the VHBA DE Framework differs from its typical use in the AS ISO 19650 series of Standards and VDAS |
| VHBA Digital Engineering Lead | VHBA DE Lead | An Appointing Party resource (Technical Advisory Services – Digital Engineering) provided to manage the Digital Engineering and asset information creation processes within the organisation. VDAS equivalent = VDAS Champion |
| VHBA Digital Engineering Project Champion | VHBA DE Project Champion | An Appointing Party (VHBA) resource provided to manage the information management functional role on the Appointing Party’s side of the project. VDAS equivalent = DE Project Champion |
| Victorian Infrastructure Delivery Authority | VIDA | The Victorian Infrastructure Delivery Authority delivers the state’s transport and health infrastructure programs. VHBA is a project office under VIDA. |

Standards and Guidance Documents

Project DE Lead - the first table which indicates the version of the VHBA Template documents, and the second table indicates the agreed current version of the documents used on this project, to allow for future comparison.

The current revision of the VHBA capital delivery documents are recorded below.

Table 2: Reference Documents

| Document | Version | Date |
| --- | --- | --- |
| Project Information Requirements | [Enter Version] | - [XX / XX / XXXX] |
| Construction DEMP template | [Enter Version] | - [XX / XX / XXXX] |
| Appointing Party Asset Equipment Lists | [Enter Version] | - [XX / XX / XXXX] |
| [Enter any other reference documents] | [Enter Version] | - [XX / XX / XXXX] |

Table 3: Project Documents

| Document | Version | Date |
| --- | --- | --- |
| Design DEMP | [Enter Version] | - [XX / XX / XXXX] |
| Construction DEMP | [Enter Version] | - [XX / XX / XXXX] |

Amendments to the PIR

PIR Section 2.5 (d).

Appointed Parties to document any issues, technical or capability/capacity challenges, then seek VHBA DE Project Champion approval to amend these in the PIR.

The following amendments to the Project Information Requirements (PIR) are applicable to this project.

Table 4: Amendments to Project Information Requirements

| PIR Clause Number | Clause Title | Amendment |
| --- | --- | --- |
| [Enter clause] | [Enter title] | [Enter change] |

Introduction

Purpose and Scope

PIR Sections 2.5. (a), 3.1 and 4.1

The Project Team shall nominate a dedicated Project Digital Engineering Lead and with the Appointed Parties, shall collaboratively develop the Construction DEMP. The Project DE Lead is to use the following information sources to assist in the creation of this document:

- VHBA Project Information Requirements

- Design DEMP for the project

- Design BIM/s, drawings, reports and schedules

- VHBA Asset Equipment List

- VHBA Asset Data Uploader Template

- Any existing conditions Health Services BIM/s, 2D drawings, reports and schedules

- Survey information including laser scans

- Health Services Asset Information Requirements (AIR) (e.g. naming, coding, classifications)

- Any space planning information

- AusHFG codes and guidelines

This document articulates how information shall be structured, managed, and delivered by each Appointed Party contracted by Victorian Health Building Authority (VHBA), in alignment with the VHBA Project Information Requirements (PIR).

The Project Information Requirements (PIR) defines VHBA's minimum information requirements across the entire project lifecycle and should be read prior to and in conjunction with developing this DEMP.

About this document

This Digital Engineering Management Plan (DEMP) is divided into specific sections that directly respond to the requirements defined in VHBA’s PIR . The sections are further split into the logical project delivery phases. In this way, Appointed Parties can work through the project delivery phases, understanding the specific DE requirements and deliverables for each discipline for the given phase.

Commercial

Project Summary

Project DE Lead to insert a brief description of the project here.

[Enter project description here]

Project Details

Project DE Lead to insert Asset Name, Project address/location

| Hospital and Health Service | [Populate] |
| --- | --- |
| Facility Name | [Populate] |
| Project Address/ Location | [Populate] |

Project Scope

PIR Section 3.1.1.1

Project DE Lead to insert a brief description of the project scope and the appointment phases relevant to their engagement here.

[Enter project scope and appointment here]

Project Procurement Strategy

The Project DE Lead is to document the procurement strategy. If unknown, write ‘to be confirmed’. If the procurement strategy involves the Designer as part of the Contractor engagement, the Design and Construction DEMP templates can be combined into one document, the Design and Construction DEMP using the VHBA templates.

[Enter procurement method here]

Project Phases (Information Delivery Milestones)

PIR Section 1.2.

The Project DE Lead is to complete Table 5.

The Construction DEMP must be developed by the Project DE Lead, taking into consideration the PIR and current revision of the Design DEMP. The Construction DEMP will be used as part of the assessment criteria for determining a preferred Project Team for Construction phases.

Figure 1: VHBA project lifecycle phases and DEMP Templates

The estimated VHBA project phase dates are shown in the following table.

Table 5: Project Schedule

| Project phase or milestone | Estimated start date | Estimated completion date |
| --- | --- | --- |
| Issue for Construction | [XX / XX / XXXX] | [XX / XX / XXXX] |
| Handover and As-Built | [XX / XX / XXXX] | [XX / XX / XXXX] |

Non-VHBA required uses of Digital Engineering

PIR Section 2.2 & 2.5.

Any non-VHBA required DE uses or processes that the Project Team feel are necessary to complete the Design and Construction of the project (beyond those stated in the PIR) must be detailed below. This is to clearly differentiate these uses and deliverables independently to the requirements of the Appointing Party.

The following table identifies Project Team DE uses not required by VHBA.

Table 6: Project Team Digital Engineering uses

| Phase | Use | By whom | Comments |
| --- | --- | --- | --- |
| Issue for Construction | [e.g., Weekly Status updates to inform subcontractor payment] | [All Appointed Parties] | [All subcontractors to populate a Status parameter in BIM/s to inform the Lead Appointed Party of site status (e.g., designed, ordered, delivered, installed, or certified] |
| Handover and As-Built | [TBC or Enter use] | [Enter party] | [Enter context] |
| Operations and Maintenance | [TBC or Enter use] | [Enter party] | [Enter context] |

Roles and Responsibilities

Project Organisational structure

Insert project organisational structure (diagram) including client parties (VHBA and HS). In this section show VHBA/HS, the Lead Appointed Party, Appointed Parties and how these organisations interact. The DE Project Team is documented in the next section, not here.

[Insert Project Organisational structure graphic here]

Project Digital Engineering Contacts

PIR sections 2.3 and 3.2.

The Project DE Lead must identify who will be responsible for DE on the project by assigning key personnel to the roles listed in the table below and add other disciplines/trades as necessary. The table should be completed with reference to section 3.2 of the PIR. 
The contact details for key stakeholders who will be involved in planning and managing DE on this project are to be detailed in Table 7. If this table is completed pre-tender, write “TBA” against the unknown subcontractors. Add extra Project Team members as necessary when known and include their DE approaches in all updates to the Construction DEMP, for VHBA approval.

The contact details for key stakeholders involved in planning and managing DE on this project are detailed in the following table.

Table 7: Key Project Team Members

| Stakeholder | Company | Name | Title | Email |
| --- | --- | --- | --- | --- |
| VHBA Project Manager | VHBA | [Enter Name] | [Enter Title] | [Enter email] |
| VHBA DE Lead | VHBA | Paul Morgan | Senior Technical Specialist – Digital Engineering | paul.morgan@health.vic.gov.au |
| VHBA DE Project Champion | VHBA | [Enter Name] | [Enter Title] | [Enter email] |
| Project DE Lead (See Appendix B) | [Company Name] | [Enter Name] | [Enter Title] | [Enter email] |
| QS | [Company Name] | [Enter Name] | [Enter Title] | [Enter email] |
| Civil Engineer | [Company Name] | [Enter Name] | [Enter Title] | [Enter email] |
| Architectural DE Lead | [Company Name] | [Enter Name] | [Enter Title] | [Enter email] |
| Structural DE Lead | [Company Name] | [Enter Name] | [Enter Title] | [Enter email] |
| Mechanical DE Lead | [Company Name] | [Enter Name] | [Enter Title] | [Enter email] |
| Hydraulic DE Lead | [Company Name] | [Enter Name] | [Enter Title] | [Enter email] |
| Electrical DE Lead | [Company Name] | [Enter Name] | [Enter Title] | [Enter email] |
| VT DE Lead | [Company Name] | [Enter Name] | [Enter Title] | [Enter email] |
| [Enter additional roles] |  |  |  |  |

Roles and Responsibilities (RACI) Matrix

PIR section 3.2.1

Roles and responsibilities for each Appointed Party at various points of the project’s life cycle should be clarified.

A RACI table may be structured using AS ISO 19650-2.

Roles and responsibilities of individual team members as well as the schedule of responsibilities for deliverables of the overall team are defined in the RACI [located in Appendix x]. The RACI matrix is a core element of the contractual obligations for all parties.

[insert response here]

Project Setout

Location and Orientation

PIR section 4.6.

Typically, will be continue from the location and setout established in Design phases. Refer to the Design DEMP.

In the following sections below, the Project DE Lead shall nominate a single file that has all the World and Local Setout coordinates and location settings, so each individual discipline/trade BIM/s can reference these for the project. This file, identified as the Set-up file, will serve as the source of the project coordinates and for sharing such information. Any changes shall be documented and communicated to the Project Team when exchanging this file.

Nominate at least two project location benchmarks that remain accessible through design and construction. Use a table in the section below to document:

a) Establish an origin mark of permanent nature with current GDA eastings and northings.

b) The Azimuth of this survey is to be MGA and extend planar from the above origin mark.

c) This mark is to be levelled and given an AHD value.

d) The planar coordinate system, AHD levels and MGA azimuth are to be maintained for the duration of the project.

e) All coordinates and levels must be based on the system above.

Table 8: Model Geographic Location

| Attribute | Details |
| --- | --- |
| Geodetic Datum | GDA2020 [Enter which Mapping Grid of Australia Zone used] |
| Height Reference | Australian Height Datum (AHD) [Enter AHD Level] |
| Project Base Point | N/S: [Enter North/South coordinates] E/W: [Enter East/West coordinates] Elevation: [Enter Elevation] |
| Survey Point | [Enter Survey Point] |
| Model Origin | [Enter Model Positioning i.e. By Shared Coordinates] |
| Model Rotation (Angle to True North) | [Enter Model Rotation] |

Survey File

PIR Section 4.6.

The Lead Appointed Party is to establish the project’s real-world coordinates which shall be derived from a .dwg file prepared by a licensed surveyor in coordination with the VHBA DE Project Champion.

[Enter Survey File here]

Setup File

PIR Section 4.6

The Project DE Lead shall nominate a single file that has all the World and Local Setout coordinates and location settings, so each individual discipline/trade BIM/s can reference these for the project. This file, identified as the Setup file, will serve as the source of the project coordinates and for sharing such information. Any changes shall be documented and communicated to the Project Team when exchanging this file.

In the following table, the Master Coordinate file coordinates and survey data is detailed. All Project Team Model Element Authors are to use these real-world coordinates to establish their model positions. All exported formats must use real-world coordinates.

Setup file name: [Enter Setup file name here]

View and Drawing Orientation

[Insert view orientation and scope boxes graphic here]

True North and Project North

Model Rotation (Angle to True North): [Enter Model Rotation]

[Insert Model Rotation (Angle to True North) graphic here]

Project Levels

Use the table below to detail the Project Levels to be used on the project

Table 9: Project Levels

| Level | Level Name |
| --- | --- |
| [Enter Level Code here] | [Enter Level Name here] |
| [Enter Level Code here] | [Enter Level Name here] |

Information Management

Units of Measurement and Quantification

PIR Section 4.7.

Appointed Parties to implement the QS extraction and units of measurement below in the BIM/s. This must build on what has been previously agreed in the Design DEMP.

The key units of measure for Model Elements are as in the table below. Generally, all physical dimensions are driven from millimetres (mm) in one, two or three dimensions. All Model Elements with units of measure in m² or m³ will need to be exported to three decimal places.

Table 10: Units and Measurement

| Attribute | Unit | Abbreviation | Description |
| --- | --- | --- | --- |
| Count | Number | No | Count of an object |
| Length | Millimetres | mm | Length of an object |
| Height | Millimetres | mm | Height of an object |
| Width | Millimetres | mm | Width of an object |
| Depth | Millimetres | mm | Depth of an object |
| Perimeter | Millimetres | mm | Length of a perimeter |
| Area | Square metres | m² | Single face area of an object |
| Volume | Cubic metres | m³ | Volume of an object |
| Weight | Kilograms | kg | Weight of an object |

PIM & AIM Strategy

Information Containers

PIR Section 2.4.1 and 4.10.

Appointed Parties to document the information containers graphically showing the relationships e.g., discipline BIM/s, Federated Model, schedules, cost plan, documentation, etc. Check the Aconex guide if relevant. May use TIDP/MIDP if preferred.

The below diagram identifies the high-level information delivery plan and the associated information containers.

[Enter diagram here]

Information Container Naming

PIR Section 4.10.1.

Lead Appointed Party to document the proposed information container naming standards for VHBA approval. This will continue from Design phases unless otherwise approved by VHBA

[Enter file naming standards and convention here]

Information status, revision and classification

PIR Section 4.3.

Document the proposed approach to managing the information containers held within the CDE, such as status (Concept, SD, DD, TD, BC, HD) revision (1,2,3, and A, B, C etc) and information container classification. Check the Aconex guide if relevant. This will continue from Design phases unless otherwise approved by VHBA

[Enter details here]

Asset Attributes workflow

PIR Section 4.5.5

Appointed Parties to use Asset Attribute Tables from the PIR for asset information population guidance. Use the Shared Parameters and Project Schedules files provided below to configure the parameters if no template is made available. Contact the VHBA DE Project Champion to access the most current supporting files.

These schedules are provided in this template so the Lead Appointed Party may add additional parameters expected of their Appointed Parties, to facilitate additional functionality within BIM (e.g. QSID field for costing, or Finishes field for scheduling finishes, etc.). Parameters must not be removed from the tables.

The list of parameters used in BIM is detailed in section 4.5.5 of the PIR. VHBA has prefixed all parameter names with VHBA_ as they relate directly to VHBA’s needs.

To assist the supply chain, these parameters are available preconfigured for the project environment in Autodesk Revit 2023. It is understood that not all designers use this BIM authoring tool, and it is intended that future versions of the VHBA DE Framework may provide preconfigured parameters for other applications, if requested.

- Refer VHBA BIM Shared Parameters.txt available from September 2024

- Refer VHBA Project Schedules (Revit).rvt available from September 2024

If these documents aren’t compatible with selected BIM authoring tools, use the asset attribute tables, in section 4.5.5 of the PIR, to configure the parameters.

Asset Attribute population

PIR Section 4.5.5

Appointed Parties to document the process for how the asset information attributes will be populated. Enter details for how the data will be populated, e.g., natively within model/s, linked spreadsheet management, add-in software used

[Enter here process of asset attribute population]

Asset Information Exchange

PIR Sections 4. 3. and 4.10.

Use this section to define the process of consolidating each Appointed Party’s asset information export from the BIM/s into the VHBA asset information template. Consider how some asset data may be ingested into BIM using linked spreadsheets or other standardised processes that may be used by the Project Team.

All populated asset attribution specified in section 4.5.5 of the PIR is to be captured in BIM/s and exported at each project phase from Design Development onwards and provided to VHBA in the provided VHBA Asset Data Uploader Template.

The resulting export from each discipline/trade is to be consolidated into a single document by the Lead Appointed Party prior to delivery at each project phase.

[Insert diagram or Enter here the process of consolidating the asset information for each phase]

Final Handover Process

[Enter Final Handover process here]

Common Data Environments

PIR section 4.3

Nominate the project CDE platforms for design and how access will be managed for VHBA.

Details about the CDE are to be provided in this section of the DEMP. In the table below, the Tenderer must nominate the CDEs they will be using on the project and specify their intended purpose.

Also include diagrams showing the how the CDE will work, including:

a) a home page image (i.e., screenshot) and/or diagram showing the location of the CDE, the project team’s information containers in the CDE and how to access this information,

b) diagrams and/or images demonstrating flow of information

c) diagrams and/or images showing Information States, including work in-progress, shared, and published.

Given the range of tasks and deliverables typical on a project, multiple “task specific” Common Data Environments are often required to manage the flow of information and to help streamline the process of collection, collaboration and communication.

For VHBA projects, the following CDE platforms are proposed:

Table 11: Common Data Environments

| Comon Data Environment | Vendor | Managed by |
| --- | --- | --- |
| Cloud based project management and document management system (Documentation CDE) | Aconex | [Enter] |
| Design Model WIP Collaboration (Geometrical Information CDE) | Autodesk Construction Cloud | [Enter] |
| Cloud based Model Issue Management Platform (Model Review Platform) | [Enter] | [Enter] |
| Room Data Sheet Management (RDS environment) | [Enter] | [Enter] |
| Asset Management Platform (O&M Handover Platform) | [Enter] | [Enter] |

Common Data Environment (PIM) - Aconex

PIR Section 4.3.2.

The Lead Appointed Party Project DE Lead to document the usage of VHBA’s Aconex environment. The Lead Appointed Party shall document if they opt for their own Documentation CDE environment but must provide in detail the Published (uploading) Information process to VHBA’s Aconex environment.

The table below provides the Aconex project management platform details.

Table 12: Aconex details

| Web Portal Name | Web Address |
| --- | --- |
| Aconex | https://au1.aconex.com/Logon |
| Aconex Project Name | [Enter] |
| Aconex Support | https://help.aconex.com/ |

[Enter Documentation CDE processes and workflow diagram here]

Common Data Environment (PIM) - Autodesk Construction Cloud

PIR Section 4.3.1.

The Lead Appointed Party Project DE Lead to document the usage of VHBA’s ACC environment following consultation and confirmation with VHBA DE Project Champion. This shall include Appointed Parties’ use of their own supplied BIM Collaboration Licenses, project specific settings, such as folder structure and permissions.

The table below provides the Autodesk Construction Cloud (ACC) platform details.

Table 13: Autodesk Construction Cloud details

| Web Portal Name | Web Address |
| --- | --- |
| ACC Login | https://acc.autodesk.com/ |
| ACC Project | [Enter] |
| ACC Support | https://construction.autodesk.com.au/support/ |

[Enter geometrical information CDE processes and workflow diagram here]

Model Review Platform

PIR Section 4.13.1

The Lead Appointed Party Project DE Lead to document the usage of a Model Review Platform following consultation and confirmation with VHBA DE Project Champion. This shall include Appointed Parties’ use of their own supplied licenses, project specific settings, such as folder structure and permissions.

[Enter Model Review Platform and workflow diagram here]

O&M Handover Platform

PIR Section 4.3.3.

The Project DE Lead shall engage with the VHBA DE Project Champion and the HS Facility Manager to establish project specific handover platform. (e.g., Aconex field, Autodesk Construction Cloud, OmTrack, Zutec, etc.).

[Enter O&M Handover Platform and workflow diagram here]

Industry Foundation Classes

Industry Foundation Class (.ifc)

PIR Section 4.12.

Use this section to define a table showing Model Element Authors, model formats (native, IFC, etc.), frequency of exchange, (e.g., weekly, milestone, etc.)

At each project phase, from Schematic Design and onwards, discipline/trade BIM/s shall be provided to the VHBA in both native and .ifc formats. Native formats provide a method for future works and asset management and maintenance activities, however, .ifc is the mandated openBIM format. All BIM/s shall be exported as buildingSMART .ifc 2x3 format.

In addition to other project and DE Deliverables, a Federated .nwd Model in .ifc format is required at each project phase from SD onwards. All .ifc models shall be exported from the BIM authoring tool with the custom VHBA parameters (refer to Section 7.2) mapped to the VHBA IFC User Defined Property Sets. This gathers all of the VHBA BIM Shared Parameters conveniently together.

Table 14: Custom IFC user defined property sets

| VHBA Property Set | .ifc Element |
| --- | --- |
| VHBA_Building | IfcBuilding |
| VHBA_Space | IfcSpace |
| VHBA_Asset | IfcElement |

The mapping should also remove the VHBA_ prefix to all parameter names. The Property Sets retain their VHBA_ prefix. In future, a more integrated approach may be taken to better align VHBA BIM Shared Parameters with native properties of the IFC schema.

Export Settings (Revit to IFC)

The below steps outline the process to deliver an .ifc format BIM from Autodesk Revit. Other authoring tools should follow the same principles with regards to mapping VHBA BIM Shared Parameters to custom .ifc Property Sets as defined in Section 7.2.2.

Figure 2: Step 1 – Exporting IFC from Revit

In the relevant 3D export view in Revit:

- Select File

- Select Export

- Select IFC

- Select Modify setup

Figure 3: Step 2 - Exporting IFC from Revit

In the Modify Setup dialogue box (refer to Figure 3):

- Select the Property Sets tab, ensure relevant tick boxes are checked

- Browse to and select the VHBA .ifc Export Mapping file

- Click OK and export as usual

Other settings may be adjusted as required but the result shall be all VHBA BIM Shared Parameters being successfully mapped to the relevant VHBA custom Property Set tab in .ifc.

Figure 4: Example .ifc showing VHBA_Asset Property Set tab

AusHFG

The Australasian Health Facility Guidelines shall be used to help describe rooms.

AusHFG room coding

PIR Section 4.5.2.3.

Appointed Parties to use AusHFG coding for Room data.

Along with the nominated room naming and numbering schema (refer section 9.5), the AusHFG coding of rooms in BIM shall be used. This includes Room Code, Room Description, etc. Refer to section 4.5.2.3 of the PIR for required parameters and the Australasian Health Facilities Guidelines for further details.

Refer to section 7.2 for AusHFG room attribute population workflow.

Documentation

Documentation Templates

PIR Sections 4.1. (k) and 4.4.3

Appointed Parties to reference required templates or title blocks. This must build on what has been previously agreed in the Design DEMP.

[List Documentation Template references and detail the approach to coordinating these templates with BIM here]

2D Documentation

PIR Section 4.1(b).

Appointed Parties to document any 2D documentation not derived from BIM e.g., typical details.

The following 2D documentation is not derived from BIM.

Table 15: 2D documentation external to BIM

| Discipline | Documentation type | Comments |
| --- | --- | --- |
| Structure | Typical reo details | e.g., Typical reinforcement details are documented in CAD |
| Architecture | Railing details | e.g., 1:5 Railing details |
| - | Specifications | [Enter] |

Schedules

PIR Section 4.1 (b & i).

Appointed Parties are to generate all schedules as extractions from the discipline/trade BIM/s and/or space planning tool. Any schedule not produced by these means must be documented here. The approach for coordinating these detached schedules with other information containers (BIM, space planning database etc) must be documented and approved by the VHBA representative prior to undertaking this work.

[List schedules not from BIM and detail the approach to coordinating these schedules with BIM here]

Asset Information Requirements

PIR Section 2.2 & 4.5.

The Project Team, in consultation with the VHBA Project Manager, HS Facility Manager, and the VDAS Champion and/or DE Project champion shall, before Build and Commission commences, determine and agree on the extent of any additional AIR. This may already be documented in the Design DEMP.

Health Services Asset Information Requirements

The minimum Asset Information Requirements required by VHBA is documented in section 4.5 of the PIR, however, various Computerised Maintenance Management Systems (CMMS) may be used by each Health Services agency, and their asset needs may vary.

The additional Health Services asset information requirements and references are noted below.

[Enter additional Health Service Agency’s asset information requirements or reference here]

VHBA Asset Grouping

PIR Section 4.5.1

Developed from the AIM Asset Framework for ease of specification and documentation, VHBA has five asset groups – Building, Spaces, Building Services Assets, Systems and Miscellaneous Assets.

The Asset Grouping is determined based on the specified VHBA Asset Groups. Refer to section 4.5.1 of the PIR for more information.

VHBA Asset Equipment List

PIR Section 4.5.2.

The Project Team, in consultation with the VHBA Project Manager, HS Facility Manager, and the VDAS Champion and/or DE Project champion shall use the VHBA Asset Equipment List in section 4.5.2 of the PIR for asset information population guidance.

The VHBA Asset Equipment List defines whether an item is treated as an asset - the Model Elements requiring VHBA Services Assets information. Refer to section 4.5.2 of the PIR for more information.

VHBA Asset Data Uploader & Attribution

PIR Section 4.5.5.

Appointed Parties to use Asset Attribute Tables in section 4.5.5 of the PIR for asset information population guidance. Use the Tables in section 4.5.5 of the PIR to configure the parameters if no template is made available. Contact the VHBA DE Project Champion to access the most current supporting files.

Each Asset Group contains a series of asset information attributes for Model Elements in the VHBA Asset Equipment List to be populated at specific project information delivery milestones. These attributes shall be populated within the VHBA Asset Data Uploader to be submitted at specific project information delivery milestones. Refer to section 4.5.5 of the PIR for more information.

Classifications

PIR Section 4.5.4

Appointed Parties to document the process for how the asset classification standards will be incorporated. Enter details for reference to AIMS Asset Framework, VBIS, AusHFG and how the data will be populated in section 7.2.2, e.g., linked spreadsheet management, add-in software used

The VHBA AIMS Asset Classification attributes, Virtual Building Information System (VBIS) attribute, and AusHFG attributes (section 4.5.5 of PIR) form the classification systems on VHBA projects. Refer to section 4.5.4 of the PIR for more information.

VHBA AIMS Asset Classification

PIR Section 4.5.4 (a)

Appointed Parties to use AIMS classification.

Each Model Element defined in the VHBA Asset Equipment List shall be classified under the VHBA AIMS Asset Classification system. Refer to section 4.5.4 (a) of the PIR for more information.

[Enter approach to populating the VHBA Asset Data Uploader from the BIM/s here]

Virtual Building Information System (VBIS)

PIR Section 4.5.4 (a)

Appointed Parties to use VBIS classification.

Each Model Element defined in the VHBA Asset Equipment List shall be classified under the Virtual Building Information System (VBIS). Refer to section 4.5.4 (b) of the PIR for more information.

[Enter approach to populating VBIS data here]

Model Management

Scope of Existing Conditions Modelling

Existing Conditions references

PIR Section 3.5.

All Appointed Parties shall verify with VHBA the availability of any previous As-Built BIM/s and/or drawings prior to undertaking any work in any of the construction phases. This may already be documented in the Design DEMP.

[List here Existing Conditions references]

Existing Conditions Capture and Modelling

PIR Section 3.5.

Existing drawings, surveys, and any BIM/s (if available) shall be obtained, and site checked for accuracy by the Project Team. Existing critical assets shall be modelled and incorporated into the Federated Model. These asset locations shall be agreed prior to modelling and verified by means of traditional survey or laser scanning. This may already be documented in the Design DEMP.

[Detail here the Existing Conditions Model Element capture and modelling process]

Model Phasing

All general Model Elements are to be assigned an appropriate phase by using the authoring software’s phasing attribute. This must build on what has been previously agreed in the Design DEMP.

The BIM/s shall incorporate the intended phasing for which the project will follow. As a minimum, the following phasing shall apply to all Model Elements within the BIM/s:

- Existing

- Temporary Works

- New Construction

- Future

- [Enter here additional phases]

The process to apply the phasing requirements is detailed below:

[Define Model Element phasing process here]

Model Federation Strategy

[Enter Model federation processes and topology diagrams here]

Federated Model Colours

Refer to the table below for the Federated Model colour breakdown.

Table 16: Federated Model Colours

| Model | Colour | RGB |
| --- | --- | --- |
| [Enter Model here] | [Fill Cell with relevant colour] | [Enter RGB] |
| [Enter Model here] | [Fill Cell with relevant colour] | [Enter RGB] |

Cross-Discipline Linked Views

If desired, use the Linked View table below to describe how models and views shall be configured for linking across disciplines. Include by discipline or by model settings if needed.

[Enter approach to linking views here]

Table 17: Linked View Requirements example

| View Type | Discipline For | View Requirements |
| --- | --- | --- |
| [Enter view type, e.g. GA or RCP] | [Enter discipline or trade using this view] | [Enter any software specific settings] |
| [Enter additional views here] | [Enter discipline/s here] | [Enter View Requirements here] |

Rooms and Spaces

Room Naming and Numbering Standards

PIR Table 14 Spaces Asset Information Requirements.

VHBA_RoomName to follow AusHFG Standards where applicable and VHBA_RoomNumber field to be agreed to with VHBA DE Project Champion. This must build on what has been previously agreed in the Design DEMP.

The Room Name and Numbering system shall follow the system defined in the Design DEMP. The trade contractors and any appointed parties commencing works in construction shall inherit the room name and numbering convention defined in the Design DEMP.

[Enter Room Naming and Numbering System here]

Room Layout Sheets (RLS)

PIR Sections 3.8. & 3.9.

The Room Layout Sheets (RLS) shall be generated from the BIM/s. Define coordination and collaboration of ownership of linked items referenced in the RLS. Detail the process of transition from Services Consultant models to Trade subcontractor models (e.g., Architect linking services trade subcontractor models for RLS, update process and requirements from services consultant models). Use the MEA Matrix (section 16.2) and/or RACI (section 16.1) to describe responsibilities on RLS production.

[Enter approach to generating and coordinating RLS contents here]

Room Data Sheets (RDS)

PIR Section 3.8. & 3.9.

The Room Layout Sheets (RDS) shall be generated from the BIM/s, with schedules produced from Model Element Data or a bi-directionally linked database. Define coordination and collaboration of ownership of linked items referenced in the RDS. (e.g., Architect linking trade subcontractor models for RDS, update process and requirements from services consultant models).

[Enter approach to generating and coordinating RDS contents here]

Spaces

PIR Table 15 – Building Services Asset Information Requirements.

VHBA_AssetLocation to inherit VHBA_RoomNumber field from the Spaces Asset Information. This may build on what has been previously agreed in the Design DEMP.

During the Build and Commission phase the trade subcontractors and other appointed parties are required to inherit the Room Numbers (as per section 9.5.1) in their respective BIM/s and shall be referenced in Model Elements captured in the VHBA_AssetLocation attribute (refer section 4.5.3.3 in PIR ).

[Enter approach to space naming coordination and Model Element reference here]

Ceiling Zone Strategy

[Enter Ceiling Zone coordination strategy or typical ceiling zone diagrams here]

Penetrations

Use this section to describe the approach to modelling, managing, and coordinating penetrations in structural elements. Describe responsibility by discipline, workflow and processes, quality assurance checks. This may include software specific functionality such as worksets.

[Enter penetration Model Elements to be used and process diagram here]

Operational Planning and Staging

PIR Section 4.15.

Lead Appointed Party to document the utilisation of BIM and space management. i.e. Process for producing staging diagrams, staging visualisations derived from the BIM/s

[Enter response here]

Communication, Collaboration and Processes

Information Exchange Schedule

Model Exchange Frequency

PIR Section 4.10.

Use this section to define a table showing Model Element Authors, model formats (native, .ifc, etc.), frequency of exchange, (e.g., weekly, milestone, etc.)

[Enter details here]

Table 18: Model Exchange Frequency

| CDE Location | File Format | Frequency | Cycle | Status | Description |
| --- | --- | --- | --- | --- | --- |
| Discipline Model/s (by DE Leads/Model Element Authors) |  |  |  |  |  |
| ACC | [Enter native file format] | Weekly | [Enter day] COB | Shared | Native file published to ACC and ‘Shared’ as a file for ongoing BIM design collaboration workflow |
| ACC | .nwc | Weekly | [Enter day] COB | Shared | Navisworks export from Model Authoring software for coordination and clash resolution |
| ACC | .ifc | Monthly | [Enter day] COB | Shared | OpenBIM file format ‘Shared’ for data and information analysis |
| Model Review Platform | [Enter file format] | Weekly | [Enter day] COB | Shared | Navisworks export from Model Authoring software for coordination and clash resolution |
| Aconex | [Enter native file format] | Milestones & Handover | n/a | Published / Archive | Native file as a ‘Published’ record set |
| Aconex | .nwc | Milestones & Handover | n/a | Published / Archive | Navisworks export from Model Authoring software ‘Published’ as a record set |
| Aconex | .ifc | Milestones & Handover | n/a | Published / Archive | OpenBIM file format ‘Published’ as a record set |
| Federated Model/s |  |  |  |  |  |
| Aconex | .nwd (in .nwc formats) | Aligned to DE workshop Programme in section 11.9 | n/a | Shared | Export of Federated Model (in .nwc formats) by Project DE Lead ‘Shared’ for coordination |
| Aconex | .nwd (in .ifc formats) | Monthly | n/a | Shared | Export of Federated Model (in .ifc formats) by Project DE Lead ‘Shared’ for data review |
| Aconex | .nwd (in .nwc formats) | Milestones & Handover | n/a | Published / Archive | Export of Federated Model (in .nwc formats) by Project DE Lead ‘Published’ as a record set |
| Aconex | .nwd (in .ifc formats) | Milestones & Handover | n/a | Published / Archive | Export of Federated Model (in .ifc formats) by Project DE Lead ‘Published’ as a record set |

Project Meetings

Refer to PIR Section 3.3.

This section is to be updated with the DE meeting requirements for the project.

The following table specifies all meetings that use DE, either relating to the production of DE or consuming DE (e.g., the Federated Model) for the purpose of making more informed decisions. It is expected by VHBA that DE (as a process) and BIM/s (as digital outputs) will be leveraged within many other traditional project meetings, such as construction program meetings, safety in design meetings, etc.

Table 19: Meeting information

| Meeting | Timings | Location |
| --- | --- | --- |
| Construction DEMP Planning | 2 weeks after contract award | [Enter Location] |
| Safety in Design/Construction Workshop | [Enter as per project delivery schedule] | [Enter Location] |
| 3D Coordination / Clash Resolution | e.g. Fortnightly | [Enter Location] |
| 3D Design Review Meetings | e.g. Fortnightly | [Enter Location] |
| DE Compliance Review meetings | [Enter as per project delivery schedule] | [Enter Location] |
| Asset Information Requirements planning | Commencement of every project phase | [Enter Location] |
| Sustainability Review workshops | [Enter as per project delivery schedule] | [Enter Location] |
| Operational Planning and Staging Meetings | [Enter as per project delivery schedule] | [Enter Location] |
| Construction Sequence meetings | [Enter as per project delivery schedule] | [Enter Location] |
| As-Built Review Meetings | [Enter as per project delivery schedule] | [Enter Location] |

Visualisation and Stakeholder Communication

Refer to PIR Section 4.14.

This section sets out the detailed DE uses for which the Lead Appointed Party shall implement as means of communication to stakeholders. List visualisation deliverables, including stakeholder communication strategy, e.g. static visualisations, augmented, mixed and/or virtual reality

The use of visualisation for conveying construction intent, including stakeholder communication processes (using BIM) are documented below.

[Populate visualisation and stakeholder communication approach here]

Occupational Health and Safety

PIR Section 4.9.

Lead Appointed Party to document the utilisation of BIM and VHBA’s OH&S requirements. i.e. Federated Model use in safety-in-design workshops for each phase.

[Enter response here]

Sustainability

PIR Section 4.8.

Lead Appointed Party to document the utilisation of BIM and VHBA’s sustainability initiatives. i.e. Federated Model use in sustainability workshops for each phase, energy efficiency modelling export requirements, quantity take-off requirements for carbon calculations, etc.

[Enter response here]

Construction Sequencing

PIR Section 4.16.

Lead Appointed Party to document the utilisation of BIM and works schedule data. i.e. Process for producing construction sequence diagrams, construction sequencing derived from the BIM/s

[Enter response here]

Model Coordination, Clash Detection and Resolution

PIR Section 4.11.

Hard clashes; Construction tolerances; safe working/maintenance zones; responsibilities and accountabilities; clash detection priorities; tolerance strategy; and outputs (e.g., clash reports, excel, dashboarding etc.) 

The DEMP shall identify details of the coordination process including:

- Proposed software to be used for model federation, clash detection and issue management

- Model topology diagrams

- Responsibilities and accountabilities, including timeframes for resolution of identified coordination issues

- The coordination priorities, services zone hierarchy and overall management process

- Tolerance strategy

- Outputs (e.g. coordination issues report, dashboarding, etc.)

Coordination

PIR Section 4.13

Each Appointed Party shall undertake coordination of their own Model Elements

The Project Team are to use automated conflict checking/clash detection software during Build and Commission onwards to determine geometric clashes in each discipline/trade BIM and then in the Federated Model. Once issues are identified, each discipline/trade shall resolve the Model Elements within the BIM/s they are responsible for.

The coordination issue identification and reporting are held regularly (e.g., weekly, or fortnightly) during the Build and Commission phase. These reports show any outstanding coordination issues between the Project Team members.

VHBA expects the coordination to be appropriate to the phase of the project (e.g., reducing coordination issues as the project progresses). Construction coordination will be largely resolved early in the Build and Commission phase. Only VHBA approved issues will remain at Handover.

[Enter Model federation processes and topology diagrams here]

Co-ordination responsibilities

- The Project DE Lead facilitates the overall co-ordination and management of clashes during the Construction phases

- The trade subcontractors are responsible for discovering, managing and resolving clashes between services disciplines prior to the issue of discipline BIM/s to the Project DE Lead for clash detection

Model Review Process

PIR Section 4.13.1

The Lead Appointed Party may either leverage VHBA’s Autodesk Construction Cloud (ACC) platform for comment, review and issue tracking functionality (relating to milestone reviews), or the Lead Appointed Party may provide their own model review solution, with approval by VHBA. Either way, the proposed model review solution shall provide access for VHBA and all Appointed Parties to the current Federated Model via cloud access (no software installation necessary, with a minimum of 6 x licenses provided for VHBA).

The Model Review Platform shall be used as the location for the latest Federated Model which shall capture the model coordination activities.

[Enter details here]

Clash Sets

All information required to undertake clash tests is documented below.

Consider which stage of the project various clash tests are most appropriate for, e.g., focussing on Architectural vs Structural earlier, before introducing larger services. Consider the use of tiers or priorities to group and define clash tests.

[Enter clash test strategy here]

Clash Tolerances

The Project Team must set minimum tolerances for clash detection for project stage deliverables. These tolerances may vary between stages for example moving from a 100mm tolerance during design to a 25mm tolerance during Construction. Consider the differences between coordination tolerances and as-built tolerances.

[Enter tolerances here]

Clash Priorities

[Enter Clash priority List here]

All other clashes

There must be documented proof that the Project Team has addressed the coordination issues, where identified.

While the above clashes have been assigned priorities, other clashes will exist within the BIM/s. These other clashes are not ignorable, nor should they be discarded.  The intention is to have a Federated Model that has minimal coordination issues prior to completion of each project phase.

Clash Reports

The coordination issue identification and reporting are held regularly (e.g., weekly, or fortnightly, as per section 11.8) during the last half of Schematic Design and throughout Design Development and Issue for Tender. These reports show any outstanding coordination issues between the Project Team members.

[Enter Clash Report outputs here]

Issue Management Process & Clash Resolution

PIR Section 4.13.1

The Model Review Platform software will enable the identification of issues within 2D and 3D environments, attributing issues with a unique identifier, the reporter’s name, an assignee’s name, date created, deadline, description, comments, mark-ups, and priority, at a minimum. Describe reporting processes and action timeframes.

The Federated Model clash detection analysis results shall be used for incorporation to the Model Review Platform defined in section 7.3.3. The Model Review Platform, used for comment, review and issue tracking by all Appointed Parties, with client access for Milestone reviews, is described below:

- [Enter proposed Issue Management Process here]

Coordination Schedule

Consider what outcomes are expected from clash meetings – are subcontractors attending to resolve issues or are BIM coordinators attending to prioritise identified issues in the issue tracking software, etc. What is the approach to hosting productive 3D Coordination/Clash Resolution meetings?

The following table provides clarity around the DE coordination program. All relevant consultants shall attend a coordination meeting facilitated by the Project DE Lead, where the Federated Model will be used to review the design and coordinate actions amongst consultants.

The Lead Appointed Party is responsible for arranging 3D Coordination/Clash Resolution (refer section 10.2) meetings during the design phases.

[Enter the approach for clash resolution meetings in the table below]

Table 20: DE Workshop Programme and Coordination Cycle

| Week 1 |  |  |  |  |
| --- | --- | --- | --- | --- |
| Monday | Tuesday | Wednesday | Thursday | Friday |
| e.g. ALL issue and Consume WIP Model Packages via ACC | e.g. Project DE Lead updates Navisworks Federated Model from .nwc files issued via ACC. |  |  |  |
| e.g. ALL to upload .nwc to ACC for federation within Navisworks by Project DE Lead | e.g. Project DE Lead runs 3D clash detection, pushes results / issues to Model Review Platform for design coordination |  |  |  |
| Week 2 |  |  |  |  |
| Monday | Tuesday | Wednesday | Thursday | Friday |
| e.g. ALL issue and Consume WIP Model Packages via ACC | e.g. Project DE Lead updates Navisworks Federated Model from .nwc files issued via ACC. |  | e.g. All to attend Design Coordination Review workshop, managed by Project DE Lead utilising the Model Review Platform for coordination and to track issues |  |
| e.g. ALL to upload .nwc to ACC for federation within Navisworks by Project DE Lead | e.g. Project DE Lead runs 3D clash detection, pushes results / issues to Model Review Platform for design coordination (2 days) |  | e.g. Project DE Lead uploads Federated Model .nwd to Aconex for coordination |  |

As-Built Validation Process

PIR Section 4.17.

Lead Appointed Party to document the utilisation of BIM and the as-built process. i.e. the extent of the measured field verification process or a description of the visual verification process, tolerance strategy and As-built BIM outputs, etc.

[Enter As-Built response here]

Measured

PIR Section 4.17.1.1.

If the Lead Appointed Party opts for a measured field verification approach, the extent of this shall be defined in the DEMP (e.g., plant rooms only, or a percentage of floor area, etc.). The measured field verification process may include, but is not limited to the use of point clouds. Ideally this would occur before sheeting so all services are captured. Remove this section if Measured validation is not used.

[Enter response here]

Visual

PIR Section 4.17.1.2.

If the Lead Appointed Party is using a visual field verification approach, this process shall be defined below.  The process for capturing Visual As-Built must be explicit, transparent and auditable. i.e. a reporting mechanism whereby a photograph of the physical As-Built element is compared against a view of the Model Element in the Federated Model.

[Enter response here]

Tolerance Strategy

PIR Section 4.17.2.

The Lead Appointed Party shall document their proposed tolerance strategy for any deviations between the As-Built Model Elements and the physical elements onsite, in the DEMP.

[Enter response here]

As-Built BIM/s

PIR Section 4.17.2.

Following verification of Model Elements and corresponding physical assets onsite, the Lead Appointed Party and the Appointed Parties shall develop the As-Built BIM/s, which shall also incorporate the redline drawings. Define process below.

[Enter response here]

IT Management

Software Selection

PIR Section 4.2.

Add other Project Team members and software as necessary.

The Project Team chosen software is recorded in the table below. Once endorsed by the Project Team and VHBA, use of different versions are not permitted without approval from the nominated Project DE Lead and VHBA DE Project Champion.

Table 21: Software Selection

| Trades/Disciplines | Software (version/build) | Format | Use |
| --- | --- | --- | --- |
| Cost Planning | [Enter] |  | Costing |
| Architecture | [Enter] |  | Design authoring |
| Structure | [Enter] |  | Design/Fabrication authoring |
| Hydraulic | [Enter] |  | Design/Fabrication authoring |
| Mechanical | [Enter] |  | Design/Fabrication authoring |
| Electrical | [Enter] |  | Design/Fabrication authoring |
| Fire | [Enter] |  | Design/Fabrication authoring |
| Civil | [Enter] |  | Design/Fabrication authoring |
| Project Team Collaboration | [Enter] |  | Model collaboration |
| Project Team Collaboration | [Enter] |  | Document management system |
| Project Team Coordination | [Enter] |  | Clash Detection/avoidance |
| Project Team Coordination | [Enter] |  | Model Review Platform/Issue Tracking |
| [Enter CDE platforms nominated in 7.3] | [Enter] |  |  |
| [Enter additional DE tools, e.g. Program and costing, etc.] | [Enter] |  |  |

Software Training

PIR section 4.2.3.

Enter details for how the Lead Appointed Party plans to manage software training for the Project Team and VHBA.

[Enter Software Training details here or refer to relevant documents]

Software Upgrade Policy

PIR section 4.2.2.

Versioning of software shall be managed by the Project DE Lead throughout the delivery phases.

Refer to section 4.2.2 of the PIR for VHBA’s software upgrade policy.

Quality Assurance and Control

PIR Section 4.18.

Quality assurance/control procedures; retaining data integrity/accuracy in BIM; and integration approach with cost planning, Construction staging/sequencing, SoA, space planning and resulting 2D drawing and schedule outputs.

The below sections outline the model and data quality control approaches, including responsible parties and frequency/timeframes.

QA Responsibility

PIR Section 4.18.

Project DE Lead to provide diagram or graphic of QA procedure and compliance/audit report output

[Enter response here]

Visual Checks

Project DE Lead to provide diagram or graphic of the visual checks to be incorporated as part of the compliance/audit report output

[Enter response here]

Interference Checks

Project DE Lead to provide diagram or graphic of the interference checks to be incorporated as part of the compliance/audit report output

[Enter response here]

Minimum Modelling Requirements by Project Phase

The following sections detail the Digital Engineering, information management, and Digital Asset procedures to be applied by Appointed Parties throughout the asset lifecycle so DE may be used for decision making. The Appointed Parties, under the management of the Project DE Lead, are responsible for ensuring all deliverables listed in this section are successfully produced.

Project Information Delivery Milestones

Figure 5: The VHBA DE Framework Project Lifecycle Phases forming the Information Delivery Milestones

Refer to PIR Section 3.4.

Use these subsections to detail the minimum modelling requirements for each discipline, at each phase, confirming all DE deliverables.

This section sets out the detailed modelling requirements which the Appointed Parties must complete for each Project Phase. Digital deliverables are expected at each Project Phase containing the Information needed to meet the contractual requirements, outlined in the contract documents.

The BIM/s from each project phase must be developed and built upon to meet the requirements of the next project phase. If any BIM/s relating to the project were developed before engaging the Project DE Lead, these BIM/s must be obtained from VHBA before proceeding with any further modelling.

Existing Conditions Modelling Requirements

If there are any existing conditions requirements during construction, note them in this section.

For Existing Conditions requirements refer to the project Design DEMP.

Design Phase Modelling Requirements

For Master Planning through to Tender Documentation refer to the project Design DEMP.

Phase 6 - Issue for Construction

Refer to PIR Section 3.11.

Use these subsections to detail the minimum modelling requirements for each discipline, at each phase, confirming all DE deliverables.

Overview

The Managing Contractor has used the Design BIM/s and the Design DEMP to develop the approach for this Construction DEMP, in alignment with the pre-award Construction DEMP, submitted as part of their tender.

Due to no Construction Documentation or Contract Documentation phase existing in VDAS, VHBA has included further refinement of the BIM/s in this Build and Commission phase, as well as including related construction uses of DE. This will guide the refinement of the BIM/s when creating the Issued For Construction documentation.

The Project Team BIM/s are to be suitable for construction from Build and Commission onwards, the BIM/s must contain the requirements of all previous project phases as nominated in the DEMP and incorporate the requirements listed in this section.

The subcontractors, fabricators and suppliers shall develop BIM/s to suit the VHBA requirements of as-builts. All modelling shall be a continuation and further development of the design BIM/s, with all requirements of the Design DEMP being applicable during Construction. Additionally, the following requirements from the PIR shall apply:

Throughout construction, modifications may be made to the project because of procurement, cost, material and/or equipment selection or constructability issues. Where these changes are within the scope of the project these changes must be coordinated within the BIM/s and used to produce revised documentation

At the end of construction there must be limited spatial coordination issues (approved by VHBA) and all applicable workshop detailing information should be coordinated and incorporated

Procurement, fabrication and construction will commence within this project phase

Design and construction subcontractors may prepare workshop models in non-BIM authoring 3D software packages approved for use by VHBA, however they must provide models in their native format, .NWC and .ifc exports for co-ordination and handover

Where developing Model Elements further (from Design phases) to include Build and Commission phase data (e.g. VHBA_VBIS Tag, VHBA_TempAssetID, etc), the existing generalised Model Elements should be modified by enhancing the component, NOT deleting it and replacing it, which would erase the underlying data produced in earlier design phases

Integration and synchronisation of the BIM/s with the space planning tool or database (if used) must be continued from the design phases, in order to support the provision of coordinated as-built, asset information during handover

All instances of Model Elements in a service run must be allocated to a defined system

Models shall contain AusHFG coding for rooms

VHBA_AssetGroup must be populated for each Model Element that is identified as an asset in the VHBA Asset Equipment List. These Model Elements will then exist as assets in the relevant Asset Group BIM schedule. (refer section 4.5 of the PIR)

VHBA_ Asset parameters shall be populated for each asset in the BIM/s, as per section 7.2.2 of this DEMP.  Every Model Element Author is required to align with the VHBA Asset Information Requirements

Where duplication of Model Elements occurs across disciplines, ownership of the Model Elements is to be resolved by the Project Team and documented in this DEMP considering both Geometrical and Alphanumerical Information

Where duplication of Model Elements cannot be avoided due to the requirements of the discipline, the ownership previously nominated is responsible for ensuring only the correct Model Elements are uploaded to the Federated Model

A Federated Model, compiling all discipline/trade -centric BIM/s in .NWC is used for coordination and accessible to VHBA during the Construction phase

A Federated Model, compiling all discipline/trade -centric BIM/s in .ifc is used for data validation and accessible to VHBA at the Construction phase milestones

[Enter additional Project Team items here]

PIR section 3.11.2.

DE Level 2 and 3 increased requirements outlined below. Remove sections below if DE Project Level is not DE Level 2 or 3.

DE Level 2 and 3 Projects – Safety in Design and OH&S risks identified, analysed and mitigation strategies documented via issues linked to, and viewable in, the Federated Model

DE Level 2 and 3 Projects – Virtual Reality is to be utilised and Static Renders are to be generated from the Build and Commission BIM/s for stakeholder communication

DE Level 2 and 3 Projects – Appointed Party BIM/s are to incorporate the QS units of measurement to enable extraction for Contractor’s cost estimator use in improving cost accuracy for the trade packages

[Enter additional Project Team items here]

PIR section 3.11.3.

DE Level 3 additional requirements outlined below. Remove sections below if DE Project Level is not DE Level 3.

DE Level 3 Projects –BIM/s are to incorporate the QS units of measurement and codification to enable extraction for detailed elemental and whole of life costing by the QS

DE Level 3 Projects – Detailed 3D operational planning and staging documentation are to be developed from the Design Development BIM/s with risks (associated with safety, time, and spatial constraints) identified, analysed and mitigation strategies documented via issues linked to the Federated Model

DE Level 3 Projects – 4D programming and construction sequencing processes are to be integrated with the BIM/s and Federated model to clearly communicate construction program and scheduled works

[Enter additional Project Team items here]

Architectural Modelling Requirements

All other elements not mentioned below that the Project Team identifies as being required to complete deliverables for this project stage must be agreed and documented below.

For Build and Commission phase onwards the BIM/s must contain the architecture requirements of previous project phases and all elements nominated below:

- Rooms/spaces shall be further developed for Build and Commission, with the addition of BIM intelligence to support the creation of the room finish schedule and synchronised with the space planning tool (if used). Floor and floor area usage will be measured and scheduled, requiring rooms to be created, named and numbered on their appropriate floor levels

- Exterior walls, parapets and curtain walls shall be depicted to the designed height, length, width and ratings (thermal, acoustic, fire) to properly reflect the wall types. All walls shall be modelled with the necessary intelligence to produce accurate wall schedules

- Architectural precast shall be modelled as individual discrete constructed elements, depicted to the designed height, length, width and ratings (thermal, acoustic, fire) to properly reflect precast element types. All precast elements shall be modelled with the necessary intelligence to produce accurate precast schedules

- Exterior screens, sunshades and other Architectural solar/rain control devices shall be depicted to the designed height, length, width and ratings (thermal, acoustic, fire) to properly reflect screen types. All screens shall be modelled with the necessary intelligence to produce accurate screening quantities

- Roofs shall accurately represent the roof scape, slopes, drainage system, major penetrations and roof form (build-ups and materials). Intelligence shall include this and specification/build-up of the system e.g., roof sheeting, insulation, battens, purlins, etc.

- Interior partitions shall be depicted to the designed height, length, width and ratings (thermal, acoustic, fire) to properly reflect wall types. Intelligence shall include this and specification/build-up of the system e.g., 70mm stud, 2x1mm plasterboard each face, etc. All finishes need to be included within the wall type regardless of the thickness of the finish

- Doors, windows and louvres are depicted to represent their designed size, type and location. All doors and windows shall be modelled with the necessary intelligence to produce accurate window and door schedules from the BIM or space planning database (i.e. intelligence contains: reference number, location, structural opening, wall thickness, door-set overall size, leaf sizes, vision panel/configuration. Detail items such as fire rating, acoustic rating, frame and door materials and finishes, swing type and hand, and ironmongery sets must be documented in the schedule

- All Architectural FF&E shall be accurately depicted. Intelligence shall contain manufacturer, range/series name, model reference number, size and engineering services information where known

- Specialist joinery shall be accurately depicted. Where furniture or furniture systems are added to the Architectural model for purely visualisation purposes these model components should be created in the model category of entourage and not furniture

- Ceilings and soffits shall be depicted at the correct heights, dimensions, and with the correct materials. Ceilings shall be set at the correct height and the depth of the ceiling shall reflect the construction build-up. Ceiling grids shall be located in the model

- Insulation above ceilings and insulation fixed to wall faces, and slab soffits (e.g., plant rooms) shall be shown, with insulation thickness indicated as a semi-transparent thickness/layer

- Stairs and ramps shall be accurately depicted with all components (i.e. Architectural treads and risers, handrails, guardrails, nosings, etc). Concrete stairs and associated components floor slabs shall be developed in the structural BIM/s and then referenced by the Architectural model for each floor of the building. Intelligence shall contain manufacturer, range/series name, model reference number, size as well as height, length, width, materials

- Model mechanical, electrical and hydraulic items that require Architectural connectors (toilets/sinks/etc.), require colour/finish selection (louvres, diffusers, etc.) that affect 3D visualisation (lighting fixtures) unless provided by engineers

- “No go” zones for structure and services over equipment must be modelled and checked for conflicts with other elements, e.g., secondary steel over operable walls and access for installing and removing ceiling-mounted pendant equipment

- Schedules: Extract accurate door, window, hardware schedules and ceiling, wall and floor finish schedules indicating the type, materials and finishes used in the construction.  These schedules must be extracted from the BIM/s or space planning database (if used) - intelligence must be synchronised with the model/s

- Review and revise the BIM/s and space planning tool (if used) for any VHBA approved Request for Information or Technical Query from the workshop detailers

- Incorporate any VHBA approved revisions to the BIM and Model Elements due to coordination issues with the fabrication models and/or installation process

- Incorporate any VHBA approved revisions to the BIM, Model Elements and space planning tool due to procurement approaches

- [Enter additional Appointed Party items here]

Civil Modelling Requirements

The BIM/s must contain the trade/discipline requirements of previous phases, and the Model Elements nominated below, to accurately represent the intent and design solution for this phase:

- Any significant changes to levels, building platforms, tops of walls, and in ground services

- Any changes to the location of civil engineering elements including those caused by changes to the design BIM/s during Construction

- Capture of Geometrical Information or Alphanumerical Information during the construction or commissioning process, e.g., AS 5488 positioning and attribution of underground services

- Incorporate and coordinate with any approved changes to other discipline/trade BIM/s

- [enter additional Appointed Party items here]

External Façade Modelling Requirements

All other elements not mentioned below that the Project Team identifies as being required to complete deliverables for this project stage must be agreed and a documented approach is specified in this DEMP below.

In coordination with the Architect and Structural Consultant, the subcontractor shall develop BIM/s incorporating all of the following:

- Fabrication elements

- Fixing elements connecting façade to structure

- Incorporate and coordinate with any approved changes to other discipline/trade BIM/s

- Any additional elements that are considered required for coordination

- [Enter additional Appointed Party items here]

If the subcontractor appointed does not have the capability to further develop the BIM/s then the Contractor must arrange for the Architect, at the Contractor’s cost, to incorporate the details above.

Structural Modelling Requirements

All other elements not mentioned below that the Project Team identifies as being required to complete deliverables for this project stage must be agreed and a documented approach is specified in this DEMP below.

For Build and Commission phase onwards the BIM/s must contain the Structural engineering requirements of previous project phases and all elements nominated below:

- All foundations including piles, pads, footing elements and rock anchors. Intelligence includes height, width, depth, top of footing, concrete grade

- Structural floor slabs shall be accurately depicted including all necessary recesses, curbs, pads, closure pours, expansion joints, pour joints and penetrations 150mm diameter or larger and concrete grade. Steel reinforcing in concrete and embedded in concrete may be modelled at the Project Team's discretion

- Concrete columns shall be accurately depicted including all necessary recesses and penetrations and concrete grade. Steel reinforcing in concrete and embedded in concrete may be modelled at the Project Team's discretion

- All steel columns, primary and secondary framing members, and bracing for the roof (including decks), shall be depicted to the designed shape, height, length, and width, including all necessary intelligence to produce accurate structural steel framing plans and related building/wall sections

- Load bearing and other structural wall types including openings shall be depicted to the designed height, length, width and ratings (e.g., fire, if not provided in the architect’s model) and all necessary intelligence to produce accurate structural wall framing plans and related building/wall sections

- Structural precast elements modelled as individual discrete constructed elements depicted to the designed height, length, width and ratings (fire) to properly reflect precast element types. All precast elements shall be modelled with the necessary intelligence to produce accurate precast schedules. Hollow core planks may be modelled as a slab unless coordination with mechanical systems needs to occur due to the hollow core being used for those systems

- All concrete stairs (not modelled by the Architect), landings, necessary openings and steel stair framing members for stair systems shall be depicted to the designed height, length, width and ratings (e.g., fire, if not provided by the Architect)

- All necessary shafts, pits, sumps and openings, including necessary intelligence to produce accurate plans and building/wall sections depicting these design elements

- The BIM/s shall include necessary intelligence to reflect accurate quantities by type and finishes

- Prepare and send the model data to the structural steel workshop detailer as the basis of the workshop model. This model data is to be sent as drawings and 3D model(s)

- Review and revise the structural BIM/s for any VHBA approved Request for Information or Tender Query from the workshop detailers. Incorporate any VHBA approved revisions to the structural BIM/s and Model Elements due to coordination issues with the fabrication models and/or installation process

- Incorporate any VHBA approved revisions to the structural BIM/s and Model Elements due to procurement approaches

- Incorporate and coordinate with any approved changes to other discipline/trade BIM/s

- [Enter additional Appointed Party items here]

Precast Concrete Modelling Requirements

All other elements not mentioned below that the Project Team identifies as being required to complete deliverables for this project stage must be agreed and a documented approach is specified in this DEMP below.

The subcontractor shall develop BIM/s incorporating all of the following:

- Structural precast elements shall be modelled as individual discrete constructed elements, depicted to the exact height, length, width and ratings (fire) and containing all required sleeves and penetration to properly reflect precast element types. All precast elements shall be modelled with the necessary intelligence to produce accurate precast schedules

- All precast concrete stairs and landings and necessary openings and framing members for stair systems shall be depicted to the exact height, length, width and ratings (fire)

- All necessary precast shafts, pits, sumps and openings, including necessary intelligence to produce accurate plans and building/wall sections depicting these design and constructed elements

- All miscellaneous steel including angles for panel openings, panel bearing, and channels for mechanical shall be modelled

- Incorporate and coordinate with any approved changes to other discipline/trade BIM/s

- [Enter additional Appointed Party items here]

If the subcontractor appointed does not have the capability to further develop the BIM/s then the Contractor must arrange for the Structural consultant, at the Contractor’s cost, to incorporate the details above.

Structural Steel Fabrication Modelling

All other elements not mentioned below that the Project Team identifies as being required to complete deliverables for this project stage must be agreed and a documented approach is specified in this CBEP below.

The subcontractor shall develop BIM/s depicting the structural steel scope of work incorporating all of the following:

- Actual elevations and location of member connections

- Large elements of typical connections applied to all structural steel connections such as base plates, gusset plates, cleat plates, anchor rods

- Joist bridging and lateral braces

- Fire protection coating

- Any miscellaneous steel pertaining to the joist

- Joist seat width

- Erection details for installation

- Chord and web member section profiles are defined

- Joist layout in coordination with metal deck fasteners confirmed

- Non-standard joist seat depths and\or sloping joist seat

- Any miscellaneous steel members with the correct size and orientation

- Any steel structure reinforcement such as web stiffeners, sleeve penetrations

- All assembly elements

- The BIM/s will represent an “as fabricated” fully detailed level of information

- Incorporate and coordinate with any approved changes to other discipline/trade BIM/s

- The model/s shall include necessary intelligence to reflect accurate quantities by trade type (steel)

[Enter additional Appointed Party items here]

All trade BIM/s shall be updated and maintained to reflect changes in the work as a result of coordination or design/Construction changes throughout Construction and shall be delivered at the end of the project as an “as-built” record model of the Structural systems in its entirety.

Mechanical Fabrication Modelling

All other elements not mentioned below that the Project Team identifies as being required to complete deliverables for this project stage must be agreed and a documented approach is specified in this CBEP below.

The subcontractor shall develop BIM/s incorporating all of the following systems:

- Supply, return, exhaust, relief and outside air ductwork, including any insulation modelled to outside face dimension or duct insulation (whichever is greater). Insulation shall be separately indicated as a semi-transparent thickness around the pipework

- All ductwork and pipework modelled in fabricated lengths incorporating flanges, joints, other connectors, etc.

- All equipment installed in the mechanical scope of work (including fans, air handling units, built-up air handling units, pumps, tanks, valves, controls, heat exchangers, smoke and fire dampers)

- Incorporate vendor Model Elements for equipment when selected. If used these Model Elements must have the ability to carry the required asset information

- All valves (including valve stems and handles), gauges and control valves

- Pipes sized at and over 15mm diameter, including any insulation

- Diffusers, registers, louvres, grilles, high and low point drains, starters etc

- All equipment installed in the respective scopes of work

- Hangers and seismic bracing for normal, emergency and isolated power systems or applicable specialty system and structural supports including strong-back angles and uni-strut supports where required

- Acoustic and fire-rated collars and dampers

- Concrete equipment pads, inertia pads

- Clearance zones for access, service space requirements, gauge reading, valve clearances and other operational clearances must be modelled as part of the mechanical equipment for coordination/constructability reviews

- Access doors and panels including access zones in front, above and below shall be modelled and comply with accessibility requirements for above listed items for code and maintenance purposes

- The model/s shall include necessary intelligence to reflect accurate quantities by type of the building services

- Incorporate and coordinate with any approved changes to other discipline/trade BIM/s

- [Enter additional Appointed Party items here]

All trade BIM/s shall be updated and maintained to reflect changes in the work as a result of coordination or design changes throughout Construction and shall be delivered at the end of the project as an “as-built” record model of the mechanical system in its entirety.

Medical Gas Fabrication Modelling

All other elements not mentioned below that the Project Team identifies as being required to complete deliverables for this project stage must be agreed and a documented approach is specified in this CBEP below.

The subcontractor shall develop BIM/s incorporating all off the following medical gas systems including but not limited to:

- All medical gas systems, equipment and devices, modelled to overall height, width and depth

- All pipework modelled in fabricated lengths incorporating flanges, joints, other connectors, etc.

- Plant room equipment such as generators, manifolds and compressors

- Pipe information including size, type, and insulation needs. Insulation shall be separately indicated as a semi-transparent thickness around the pipework

- All valves (including valve stems and handles), gauges and control valves, solenoids/emergency shut-off valves and information such as operation method etc.

- Bracket and support details

- Acoustic and fire-rated collars and dampers

- Nist connection plate details

- Outlet information

- Control and indicator panels

- All equipment installed in their respective scope of work

- Clearance zones for access, service space requirements, gauge reading, valve clearances and other operational clearances must be modelled as part of the medical gas equipment for coordination/constructability reviews

- Access doors and panels including access zones in front, above and below shall be modelled and comply with accessibility requirements for above listed items for code and maintenance purposes

- The model/s shall include necessary intelligence to reflect accurate quantities by type of the building services

- Incorporate and coordinate with any approved changes to other discipline/trade BIM/s

- [Enter additional Appointed Party items here]

All trade BIM/s shall be updated and maintained to reflect changes in the work as a result of coordination or design changes throughout Construction and shall be delivered at the end of the project as an “as-built” record model of the medical gas system in its entirety.

Electrical Fabrication Modelling

All other elements not mentioned below that the Project Team identifies as being required to complete deliverables for this project stage must be agreed and a documented approach is specified in this CBEP below.

The subcontractor shall develop BIM/s incorporating all of the following systems:

- All electrical systems, equipment and devices, modelled to overall height, width and depth

- All cable containment and fittings (cable tray/ladder/ducting)

- All conduits 15mm or larger

- Acoustic and fire-rated collars and dampers

- All equipment installed in the respective scopes of work, panels, transformers, switch / paralleling gear, automatic transfer switch, generators, starters, variable frequency drive

- Hangers and seismic bracing for normal, emergency and isolated power systems or applicable specialty systems and structural supports including strong-back angles and uni-strut supports where required

- Light fixtures, exit signs, recessed electrical devices, speakers, AV equipment and devices, modelled and coordinated with ceilings and walls and incorporating access clearances or zones required for maintenance

- Concrete equipment pads, inertia pads

- All electrical components must be assigned to an electrical switchboard

- Creation of panel schedules is mandatory, within the model authoring tool, for all electrical components

- Clearance zones for access, service space requirements, gauge reading, valve clearances and other operational clearances must be modelled as part of the electrical equipment for coordination/constructability reviews

- Access doors and panels including access zones in front, above and below shall be modelled and comply with accessibility requirements for above listed items for code and maintenance purposes

- The model/s shall include necessary intelligence to reflect accurate quantities by type of the building services

- Incorporate and coordinate with any approved changes to other discipline/trade BIM/s

- [Enter additional Appointed Party items here]

All trade models shall be updated and maintained to reflect changes in the work as a result of coordination or design changes throughout Construction and shall be delivered at the end of the project as an “as-built” record model of the electrical system in its entirety.

ICT and Security Fabrication Modelling

All other elements not mentioned below that the Project Team identifies as being required to complete deliverables for this project stage must be agreed and a documented approach is specified in this CBEP below.

The subcontractor shall develop BIM/s incorporating all of the following systems:

- All cable containment and fittings (cable tray / ladder / ducting).

- All conduits 15mm or larger

- Acoustic and fire-rated collars and dampers

- Speakers, AV equipment and devices

- Clearance zones for access, service space requirements, gauge reading, valve clearances and other operational clearances must be modelled as part of the ICT and security equipment for collision checking; and

- The model/s shall include necessary intelligence to reflect accurate quantities by type of the building services; and

- Incorporate and coordinate with any approved changes to other discipline/trade BIM/s

- [Enter additional Appointed Party items here]

All trade models shall be updated and maintained to reflect changes in the work as a result of coordination or design changes and shall be delivered at the end of the project as an “as-built” record model of the ICT and security system in its entirety.

Fire Protection Fabrication Modelling

All other elements not mentioned below that the Project Team identifies as being required to complete deliverables for this project stage must be agreed and a documented approach is specified in this CBEP below.

The subcontractor shall develop BIM/s incorporating all of the following systems:

- Risers, main and branch piping including sprinkler lines at and over 15mm diameter

- Pumps, controllers, automatic transfer switch and equipment installed in the fire protection system scope of work

- All sprinkler heads, detectors, alarms and public address systems

- All valve assemblies, gauges and control valves, drain valves and fire department connections, including valve clearances

- Insulation on piping if required. Insulation shall be separately indicated as a semi-transparent thickness around the pipework

- Fire alarm components and devices

- Acoustic and fire-rated collars and dampers

- Hangers and seismic bracing, and structural supports including strong-back angles and uni-strut supports where required

- Concrete equipment pads, inertia pads

- Clearance zones for access, service space requirements, gauge reading, valve clearances and other operational clearances must be modelled as part of the Fire Protection equipment for coordination/constructability reviews

- Access doors and panels including access zones in front, above and below shall be modelled and comply with accessibility requirements for above listed items for code and maintenance purposes

- The model/s shall include necessary intelligence to reflect accurate quantities by type of the building services

- Incorporate and coordinate with any approved changes to other discipline/trade BIM/s

- [Enter additional Appointed Party items here]

All trade models shall be updated and maintained to reflect changes in the work as a result of coordination or design changes throughout Construction and shall be delivered at the end of the project as an “as-built” record model of the fire protection system in its entirety.

Hydraulic Fabrication Modelling

All other elements not mentioned below that the Project Team identifies as being required to complete deliverables for this project stage must be agreed and a documented approach is specified in this CBEP below.

The subcontractor shall develop BIM/s incorporating all of the following systems:

- All piping systems (sized at and over 15mm diameter), including insulation. Insulation shall be separately indicated as a semi-transparent thickness around the pipework

- All equipment installed in the plumbing scope of work, (including domestic water, chilled water, steam, storm/roof leaders, pumps, tanks, water heaters, in-wall carriers, in-wall plumbing equipment

- Fixtures: sinks, toilet fixtures, water tanks, floor sinks

- Modelling of plumbing fixtures and fittings to be agreed with the Architect, including Geometrical and Alphanumerical Information, and considering how duplicated data will be managed so only one instance of each Model Element exists in the Federated Model

- All valves, gauges and control valves

- Clean-outs

- Acoustic and fire-rated collars and dampers

- Hangers and seismic bracing, and structural supports including strong-back angles and uni-strut supports where required

- Clearance zones for access, service space requirements, gauge reading, valve clearances and other operational clearances must be modelled as part of the Hydraulic equipment for coordination/constructability reviews

- The model/s shall include necessary intelligence to reflect accurate quantities by type of the building service

- Incorporate and coordinate with any approved changes to other discipline/trade BIM/s

[Enter additional Appointed Party items here]

All trade models shall be updated and maintained to reflect changes in the work as a result of coordination or design changes throughout Construction and shall be delivered at the end of the project as an “as-built” record model of the plumbing and hydraulics system in its entirety.

QS

A cost plan will be developed based on the following:

- The Construction BIM/s and project database created to date

- The QS will take into consideration the elements nominated above for each discipline

- The QS will also use this DEMP to ensure each discipline has created their discipline-specific BIM based on the nominated objects

- Any elements found by the QS, as per the below, must be remedied immediately by the relevant Model Author:

not modelled as per above and Model Content Plan

incorrectly modelled (floors as stairs)

incorrectly categorised (ceilings as slabs)

[Enter additional Appointed Party items here]

As-Built space planning or database

All other elements not mentioned below that the Project Team identifies as being required to complete deliverables for this project stage must be agreed and a documented approach is specified in this CBEP below.

The space planning database (if used) must be used to the fullest extent practicable to:

- Create and manage design and building data, and BIM intelligence

- Produce non-drawing-based deliverables required in this project stage

- In Construction this includes:

  - Preparation of asset lists and asset documentation required for delivery at the end of Construction

  - Maintenance of FF&E and mechanical equipment schedules, selections and related installation and commissioning data

  - Maintenance of spatial and room naming data synchronised between the BIM/s and trade models and space planning tool or database

  - Building fabric schedules e.g., signage schedules, AV schedules

- [Enter additional Appointed Party items here]

Issue for Construction – Digital Engineering Deliverables

Refer to section 3.11.5 of the PIR for Phase 6 – Issue for Construction DE deliverables.

Project DE Lead Audit

A monthly audit of all DE files (including the space planning database if used) for the project will be undertaken by the Project DE Lead during the Issue for construction phase. The Project DE Lead will assess the BIM/s and Federated Model in .ifc format to ensure alignment with this DEMP and PIR. The VHBA Asset Information Uploader Template.xlsx shall be checked for compliant asset data. A report with actions will be produced and the Project Team will have a nominated time horizon to remedy any deficiencies. Refer to section 14 for more details.

VHBA DE Project Champion Audit

An independent audit of all DE files (including the space planning database if used) for the project will be undertaken by the VHBA Project DE Champion at the Build and Commission milestone (at a minimum) or at VHBA’s discretion. The advisor/s will assess the BIM/s and Federated Model in .ifc format, along with other DE deliverables, to ensure alignment with the Construction DEMP and PIR. A report with actions will be produced and the Project Team will have a nominated time horizon to remedy any deficiencies.

Phase 7 - Handover and As-Built DE Requirements

Overview

PIR Section 3.12. & 4.17.

Lead Appointed Party to detail below the methodologies/collaborative software platforms to be used to create and collate asset management and as-built information.

As-built verification process

Define the type of as-built model required. For example:

As documented plus approved changes during Construction, verified by;

- Measured, as surveyed (on-site by scanning, etc.)

- Visual, evidenced through photo overlay or photogrammetry

Define or refer to the data required for FM purposes, e.g. Section 8.

State the purpose for which the BIM/s are to be used and define the dimensional accuracy required.

PIM > AIM - Asset Information for Facilities Management

The strategy for the collection of Health Services asset data at commissioning and handover stage will be shaped by decisions made earlier in the project, for example:

Scenario 1 – additional project-specific Health Services critical asset information has been specified in the PIR/DEMP: In this instance, confirm with the Health Services and VHBA that this still meets their requirements. If not, determine what their revised requirements are and agree an appropriate response

Scenario 2 – no additional project-specific Health Services asset data is required, just the minimum requirements set out in the PIR/DEMP: In this instance, establish if the defined information is populated as required.

Whichever scenario applies it should be confirmed/agreed and documented in this DEMP.

Describe the format for integrating additional project-specific Health Services critical asset information,

e.g., new tab on the VHBA Asset Information Uploader Template

Describe the method of recording and exchanging information, e.g., spreadsheets, software

Describe who will be responsible and outline procedures for capturing and recording information and verifying its correctness, including sign-off protocols.

For As-Built, the BIM/s must contain the requirements of all previous project phases, updated to capture the relevant commissioning asset data and reflect the completed works to an as-built status.

[Enter details here]

Handover and As-Built DE Deliverables

Refer to section 3.12.2 of the PIR for Phase 7 – Handover and As-Built DE deliverables.

Project DE Lead Audit

A final audit of all BIM files (including the space planning database if used) for the project will be undertaken by the Project DE Lead during to Handover and As-Built. The Project DE Lead will assess the BIM/s and Federated Model to ensure alignment with the Design DEMP/Construction DEMP and PIR. The VHBA Asset Information Uploader Template.xlsx shall be checked for compliant asset data. Any corrections needed shall be made before submission to VHBA.

A final compliance report will be produced for the VHBA DE Project Champion.

VHBA DE Project Champion Audit

An independent audit of all DE files (including the space planning database if used) for the project will be undertaken by the VHBA DE Project Champion at the Handover and As-Built milestone (at a minimum) or at VHBA’s discretion. The advisor/s will assess the BIM/s and Federated Model in .ifc format, along with other DE deliverables, to ensure alignment with the Construction DEMP and PIR. A report with actions will be produced and the Project Team will have a nominated time horizon to remedy any deficiencies.

Appendices

Appendix A – RACI Matrix

Responsible, Accountable, Consulted, and Informed Matrix

PIR Section 3.2.1 The Lead Appointed Party shall produce a matrix that clearly sets out the roles and responsibility for elements (such as scope, interfaces, information etc.) of the project at various points of the project’s life cycle. This matrix should be organised with a classification system and may include information such as Model Element Author and LOD, if used. Refer to VDAS Appendix 7 for an example.

[Enter RACI Matrix here]

Appendix B – MEA Matrix

Model Element Author (Ownership) Matrix

PIR Section 4.4.1.2.

The Lead Appointed Party shall produce a matrix that clearly sets out the roles and responsibility for elements (such as scope, interfaces, information etc.) of the project at various points of the project’s life cycle. This matrix should be organised with a classification system and may include information such as Model Element Author and LOD, if used. Refer to VDAS Appendix 7 for an example.

Must cover both Geometrical and Alphanumerical information.

[Enter MEA Matrix here]

Appendix C – Project Digital Engineering Lead

This appendix is only required for the Pre-award DEMP tender submission. Remove this appendix and any references to this appendix for any Post-award DEMP.

Digital Engineering Experience

The Project DE Lead appointed by the Project Team and named in section 5.2 shall have the following experience.

Experience

PIR Section 3.2.

State the experience of the named individual (or individuals) performing Digital Engineering management roles including:

- number of years

- projects delivered

- technical competencies

- communication abilities

[Enter Project DE Lead Experience here]

Resource allocation

State the estimated time of the named individual (or individuals) performing BIM management roles for the project.

Table 22: Digital Engineering Management

| Phase | Named Resource | BIM and information management tasks | Time allocation per week |
| --- | --- | --- | --- |

https://www.healthfacilityguidelines.com.au/